| Institute / College Name : | Bhagalpur College of Engineering, Bhagalpur |  |  |
| --- | --- | --- | --- |
| Program Name | B.Tech ELECTRICAL |  |  |
| Course Code | 31616 |  |  |
| Course Name | UTILIZATION OF ELECTRIC POWER |  |  |
| Lecture / Tutorial (per week): | 4 | Course Credits | 4 |
| Course Coordinator Name | Mr. RKM |  |  |

- Scope and Objectives of the Course

This course is designed to know about the utilization of electric power in day to day life. Students will know about the basics of Electric Traction system, construction of different types of electrical lighting items and their working principals, how electrical welding work. Students are also able to understand the way of doing electrical wiring. So in practical life students are able to implement the concepts learn in this course, in better way.

The course outcomes are:

- Understanding the fundamentals of electric traction system by acquiring knowledge on track electrification, train movement, tractive effort, and characteristics of traction motor and their starting, control and protection.

- By knowing the fundamentals of illumination, types of lamps, photometry, control of light etc., students are able to explain construction & working principles of different types of electrical lighting items and learn design concept of interior and exterior lighting system.

- Students may explain different types of heating like resistance, induction, dielectric etc, their working principles & applications.

- Learn different types of welding like resistance, arc, electron beam, laser beam etc and the requirements of power supply for such welding, with their working principles.

- Implementation of concept of electrical wiring & their estimation.

- Textbooks

TB1: Utilization of Electric Power & Electric Traction by G.C Garg, Khanna Publishers Delhi

TB2: Electrical Installation Estimating & Costing by J. B. Gupta, S. K. Kataria & Sons

- Reference Books

RB1: Book by V.K.Mehta, Rohit Mehta, S Chand & Company Limited, New Delhi.

Other readings and relevant websites

| S. No. | Link of Journals, Magazines, websites and Research Papers |
| --- | --- |
|  | https://www.youtube.com/watch?v=fakGLu03jYg&list=PLYpWT6_CIHqkslVcB2Ex9bHiTDjCxp9pI (8 video lectures) |
|  | https://www.youtube.com/watch?v=dQUvbbItNtU&index=5&list=PL4A675ED47815B333 (20 video lectures) |
|  | https://www.youtube.com/watch?v=D0gmPH7aahM |
|  | https://www.youtube.com/watch?v=RxgbUFK0Ywo&list=PL1LoKHGXer5WYD2bVdKUf30tlbnzMuBvo |
|  | https://www.youtube.com/watch?v=carVK3hH3aQ&list=PLEprwsbQ0B8LTsM8HvrDthlBgoapfSQh7 |
|  | https://www.youtube.com/watch?v=ToIT-WFBm_w&t=539s |
|  | https://www.youtube.com/watch?v=Bk_mzWoPXDo&list=PLEprwsbQ0B8LwyVcXqzXkkwG68gKIrJoQ |

- Course Plan

| Lecture Number | ## Date of Lecture | ## Topics | Web Links for video lectures | Text Book / Reference Book / Other reading material |  | Page numbers of Text Book(s) |
| --- | --- | --- | --- | --- | --- | --- |
| 1-10 |  | ## Electric Traction |  |  |  |  |
|  |  | System of D.C and A.C traction train movement and energy consumption, Electric Traction motor, Their starting speed, control and braking, System of power supply in traction, Modern method of speed control and starting. | https://www.youtube.com/watch?v=fakGLu03jYg&list=PLYpWT6_CIHqkslVcB2Ex9bHiTDjCxp9pI (8 video lectures) | TB1 |  | 685-868 |
| Tutorial-1 |  |  |  |  |  |  |
| 11-19 |  | Illumination |  |  |  |  |
|  |  | Introduction, Nature of radiation, Definition, polar curves, laws of illumination, luminous efficiency, Sources of light, incandescent, vapor, Florescent, lighting calculation, Factory lighting, Flood lighting, Street lighting essential. | https://www.youtube.com/watch?v=dQUvbbItNtU&index=5&list=PL4A675ED47815B333 (20 video lectures) | TB1 https://www.youtube.com/watch?v=D0gmPH7aahM https://www.youtube.com/watch?v=RxgbUFK0Ywo&list=PL1LoKHGXer5WYD2bVdKUf30tlbnzMuBvo |  | 455-580 |
| Tutorial-2, Assigment-1 |  |  |  |  |  |  |
| 20-24 |  | Electric Welding |  |  |  |  |
|  |  | Introduction, various methods of welding, Resistance, Electric are, Ultrasonic and Laser welding, control of current flow in welding transformer. | https://www.youtube.com/watch?v=carVK3hH3aQ&list=PLEprwsbQ0B8LTsM8HvrDthlBgoapfSQh7 | TB1 https://www.youtube.com/watch?v=ToIT-WFBm_w&t=539s | 397-454 |  |
| 25-30 |  | Electric Heating |  |  | 319-383 |  |
|  |  | Introduction, different methods of heating, Resistance, Dielectric, Induction and arc heating, Heating and cooling of electric motors. | https://www.youtube.com/watch?v=Bk_mzWoPXDo&list=PLEprwsbQ0B8LwyVcXqzXkkwG68gKIrJoQ | TB1 |  |  |
| Tutorial-3, Assigment-2 |  |  |  |  |  |  |
| Mid-Semester Exam (Syllabus covered from 1-30 lectures) |  |  |  |  |  |  |
| 31-38 |  | Estimating and Costing of Electric Installation |  |  |  |  |
|  |  | Introduction, Type of wiring, Design of light, fan, alarm circuit and drawing of panel board, Electric installation for building, hotels, offices, workshops, playground, street and road lighting, Estimation and costing of electrical installation, House wiring and workshop lighting. |  | TB2 |  |  |
| Tutorial-4 |  |  |  |  |  |  |
| 39-42 |  | Cooling |  |  |  |  |
|  |  | Method of cooling by air, hydrogen and water, forced and natural cooling. |  | TB1, RB1 |  |  |

- Evaluation Scheme:

| Component 1 | Mid Semester Exam | 20 |
| --- | --- | --- |
| Component 2 | Assignment Evaluation/ Class Test | 05 |
| Component 3 | Class Attendance | 05 |
| Component 4 | End Term Examination | 70 |
|  | Total | 100 |

SYLLABUS

| ## Topics | No of lectures | Weightage |
| --- | --- | --- |
| System of D.C and A.C traction train movement and energy consumption, Electric Traction motor, Their starting speed, control and braking, System of power supply in traction, Modern method of speed control and starting. | 10 | 24% |
| Introduction, Nature of radiation, Definition, polar curves, laws of illumination, luminous efficiency, Sources of light, incandescent, vapor, Florescent, lighting calculation, Factory lighting, Flood lighting, Street lighting essential. | 09 | 21% |
| Introduction, various methods of welding, Resistance, Electric are, Ultrasonic and Laser welding, control of current flow in welding transformer. | 05 | 12% |
| Introduction, different methods of heating, Resistance, Dielectric, Induction and arc heating, Heating and cooling of electric motors. | 06 | 14% |
| Introduction, Type of wiring, Design of light light, fan, alarm circuit and drawing of panel board, Electric installation for building, hotels, offices, workshops, playground, street and road lighting, Estimation and costing of electrical installation, House wiring and workshop lighting. | 08 | 19% |
| Method of cooling by air, hydrogen and water, forced and natural cooling. | 04 | 10% |

This Document is approved by:

| Designation | Name | Signature |
| --- | --- | --- |
| Course Coordinator |  |  |
| H.O.D |  |  |
| Principal |  |  |
| Date |  |  |

Evaluation and Examination Blue Print:

The components of evaluations alongwith their weightage followed by the University is given below

Mid Term Examination			20%

Assignment/ Class Test			05%

Class Attendance				05%

End term examination				70%