Assignment I

- What are the advantages & disadvantages of Electric Traction System?

- Explain the following terms used in illumination:- (i) Luminous Flux (ii) Luminous Efficiency (iii) Luminous Intensity (iv) Lumen (v) Candle Power

- Define principle of Arc welding. What are the conditions for successful welding?

- What are the advantages of electric heating over other methods of heating?

- Explain Regenerative breaking used in traction system.

- Draw the construction diagram of Mercury Vapour Lamp & explain its working principal.

BHAGALPUR COLLEGE OF ENGINEERING

(Under Department of Science & Technology, Bihar)

Department of Electrical Engineering

EE-31316 Utilization of Electric Power

Assignment II

- Draw block diagram of an AC locomotive & explain its different components.

- Explain the following terms used in illumination:- (i) MSCP, MHCP & MHSCP (ii) Lamp Efficiency (iii) Depreciation Factor (iv) Co-efficient of Utilization (v) Waste Light Factor.

- Write short notes on Dielectric Heating.

- Explain different types of Resistance welding.

- Write short notes on Incandescent Bulb.

- Compare between AC & DC welding.

BHAGALPUR COLLEGE OF ENGINEERING

(Under Department of Science & Technology, Bihar)

Department of Electrical Engineering

EE-31316 Utilization of Electric Power

Assignment III

- Draw & explain Speed time Curve for Urban, Sub-Urban & Main Line Services.

- Explain the following terms used in illumination:- (i) Reflection Factor (ii) Reduction Factor (iii) Space Height Ratio (iv) Depreciation Factor (v) Absorption Factor.

- Define Laws of Illumination.

- Explain Dielectric Heating & mention their applications?

- Write short notes on Laser welding.

- Define Polar curve. How polar curve is used to determine MHCP & MSCP?

BHAGALPUR COLLEGE OF ENGINEERING

(Under Department of Science & Technology, Bihar)

Department of Electrical Engineering

EE-31316 Utilization of Electric Power

Assignment IV

- Write short notes on followings: (i) Ideal Traction System (ii) Crest Speed (iii) Average speed (iv) Schedule speed.

- What is tractive effort? Derive expression for tractive effort and hence for power output from driving axles.

- Explain the working principal of Fluorescent Tube. What is the function of Starter & Choke in fluorescent tube?

- Define Straight & Reverse Polarity in DC welding.

- Write short note on Ajax-Wyatt Vertical Core Type Furnace.

BHAGALPUR COLLEGE OF ENGINEERING

(Under Department of Science & Technology, Bihar)

Department of Electrical Engineering

EE-31616 Utilization of Electric Power

Assignment V

- Write short notes on followings: (i) Specific Energy Consumption (ii) Accelerating Weight (iii) Co-efficient of adhesion (iv) Conductor Rail System.

- Write short notes on (i) Sodium Vapour Lamp (ii) Neon lamps & tubes.

- Explain different systems of traction.

- Write short notes on followings (i) Electrical Properties of an arc (ii) Drooping Characteristic for welding (iii) Types of Electrical Wiring.

- Explain coreless induction furnace.

BHAGALPUR COLLEGE OF ENGINEERING

(Under Department of Science & Technology, Bihar)

Department of Electrical Engineering

EE-31616 Utilization of Electric Power

Assignment VI

- What are the different types of Lighting Schemes?

- What are the advantages & disadvantages of Electric Breaking? Explain Plugging for DC series motor.

- Compare between Arc Welding & Resistance welding.

- Discuss application of Electric Arc welding.

- Explain different types of Resistance Heating.