SYLLABUS:

## Topics

UNIT-1: Electric Traction Introduction:- System of D.C and A.C traction train movement and energy consumption, Electric Traction motor, Their starting speed, control and braking, System of power supply in traction, Modern method of speed control and starting.

UNIT-2: Electric Heating:- Introduction, different methods of heating, Resistance, Dielectric, Induction and arc heating, Heating and cooling of electric motors.

UNIT-3: Cooling:- Method of cooling by air, hydrogen and water, forced and natural cooling

UNIT-4: Electric Welding:- Introduction, various methods of welding, Resistance, Electric are, Ultrasonic and Laser welding, control of current flow in welding transformer.

UNIT-5: Illumination:- Introduction, Nature of radiation, Definition, polar curves, laws of illumination, luminous efficiency, Sources of light, incandescent, vapor, Florescent, lighting calculation, Factory lighting, Flood lighting, Street lighting essential.

UNIT-6: Estimating and Costing of Electric Installation:- Introduction, Type of wiring, Design of light, fan, alarm circuit and drawing of panel board, Electric installation for building, hotels, offices, workshops, playground, street and road lighting, Estimation and costing of electrical installation, House wiring and workshop lighting.